## Sheet1
Inner diameter (in) | 1.5
Center diameter (in) | 3.6333
Wire diameter (in) | 0.064
Number of turns | 1000
Bundle radius (in) | 1.0667
Desired field (T) | 0.3
Required Current (A) | 15.3541
Coil resistance (Ohm) | 2.3748
Voltage (V) | 36.4624
Power dissipated (W) | 559.8477
Wire length (m) | 289.9271
Helmholtz radius (m) | 0.046143
Wire radius (m) | 0.0008128
0.28993